## Title Page
Windstorm Power Company
Wind Turbine Farm
Financial Model
100 MW Wind Turbine Farm
280 GWh of Electricity per year
Operational by January 01, 2005
$US 56,200,000 Equity (20.0 million shares @ $US 2.81/share)
$US 37,430,000 Debt
$US 93,630,000 Total Capital Required
Figure 1.1 Nordex N80 2.5 MW turbine |  | Figure 1.2 Havoygavlen Wind Park - Masoy, Norway
80m Tower |  | 16 installed Nordex N80 2.5 MW wind turbines
80m Rotor Diameter |  | (construction began Apr 2002, completed Oct 2002)
With an average wind speed of more than 9 m/s, the wind
park has a capacity of 40 megawatts and will generate up
to 120 GWh of electricity per year. Havoygavlen is the
world's northernmost wind park (71o N latitude), located
roughly 100 kilometers south of the North Cape, Norway.
The turbines include Nordex's "Power Crane System"
for offshore units, allowing all main components to be
replaced without the assistance of an external crane.
Figure 1.3 U.S. Installed Wind Power Capacity 1981-2001
Wind Energy Links |  |  | Financial Model
Nordex |  |  | by Tom Kingston P.Eng MBA
Danish Wind Industry Association
American Wind Energy Association |  |  | http://www.vanfm.com
The UK Wind Energy Association - Offshore |  |  | tom.kingston@vanfm.com
GPCO (creator of the RETScreen model) |  |  | (604) 694-2501
Renewable Energy Systems - King Mountain Windfarm
Wind Energy Study in British Columbia, Canada
Wind Force 12
Havoygavlen Wind Park Construction Photos
WindPower Photos |  |  | February 12, 2003

## Enter and Change Data Here
Table 1.1 Wind Turbine Farm Input 1 |  |  |  |  | (Change only data in blue) | Table 2.1 Wind Turbine Farm Economic Viability Results
Input 1 | [5 empty] | Output 1
| Corporate Structure | [5 empty] | Project Attractiveness*
|  |  | Company Name (Full) | Windstorm Power Company |  |  |  | 25 year Internal Rate of Return |  | 15.11%
|  |  | Company Name (Abreviated) | Windstorm |  |  |  | 25 year Net Present Value @ 7% Discount Rate ($US) |  | 41516303.8426
|  |  | Number of Common Shares issued to Founders (no cost) | 2000000 |  |  |  | Payback time (years) |  | 5.8025
|  |  | Number of Additional Common Shared Issued at IPO | 20000000
[8 empty] | Interest Coverage (post commissioning) (min over 25 years) |  | 3.1533
|  |  | Year construction is completed | 2004 |  |  |  | Net Profit Margin (post commissioning) (min over 25 years) |  | 23.54%
|  |  | Currency (Abbreviated) | $US |  |  |  | Pre-tax Return on Invested Capital (average over 25 years) |  | 9.509%
Table 1.2 Wind Turbine Farm Input 2 |  |  |  |  | (Change only data in blue) | Table 2.2 Wind Turbine Farm Detailed Output
Input 2 | [5 empty] | Output 2
| Project Parameters | [5 empty] | Capital Cost
|  |  | Per Wind Turbine Nameplate Rated Output (MW) | 2.5 |  |  |  | Project Cost ($US) |  | 84330000
|  |  | Number of Wind Turbines | 40 |  |  |  | Equity Underwriting Fee ($US) |  | 4491355.9322
|  |  | Capacity Factor (%)** | 32 |  |  |  | Debt Underwriting Fee ($US) |  | 748559.322
|  |  | Project Life (years) | 25 |  |  |  | Total Capital Cost ($US) |  | 89569915.2542
| Commissioning | [5 empty] | Capital Structure
|  |  | Percent of Capacity Factor** Achieved in Year 1 (%) | 85 |  |  |  | Equity ($US) |  | 56141949.1525
|  |  | Percent of Capacity Factor** Achieved in Year 2 (%) | 95 |  |  |  | Debt ($US) |  | 37427966.1017
|  |  | Percent of Capacity Factor** Achieved in Year 3 (%) | 100
[8 empty] | Total (includes $US 4,000,000 in working capital) ($US) |  | 93569915.2542
| Revenue | [5 empty] | Cash Flow (fully commissioned) (Yr 1) (see "Cash Flow" worksheet)
|  |  | Selling Price of Electricity ($US/MWh) | 36 |  |  |  | Gross Revenue ($US/year) |  | 17379840
|  |  | Green Electricity Premium*** ($US/MWh) | 26 |  |  |  | Operating and Maintenance Expenses ($US/year) |  | 2350000
|  |  | Total Selling Price ($US/MWh) | 62 |  |  |  | Gross Operating Profit ($US/year) |  | 15029840
|  | Green Energy Credits | [5 empty] | Selling, Administrative and General Expenses ($US/year) |  | 936000
|  |  | End of Year One Green Energy Capital Cost Credit ($US) | 0 |  |  |  | Principal and Interest Payments ($US/year) |  | 4100101.7532
| Capital Cost | [5 empty] | Benchmarks
|  | Site Cost ($US) | [5 empty] | Total Nameplate Rated Output (MW) |  | 100
|  |  | Site Wind Speed Feasibility Studies | 1000000 |  |  |  | Annualized Total Nameplate Rated Output (MWh) |  | 876000
|  |  | Legal Fees, Permits, Contracts | 200000 |  |  |  | Annual Output (fully commissioned) (MWh) |  | 280320
|  |  | Meetings, Travel, Entertainment | 80000
|  |  | Engineering | 2000000 |  |  |  | Capital Cost per Annual MWh ($US/MWh) |  | 322.1042
|  |  | Land | 200000 |  |  |  | Capital Cost per Nameplate Rated MW ($US/MW) |  | 895699.1525
|  |  | Road Access | 2000000 |  |  |  | Capital Cost per Effective MW ($US/MW) |  | 2799059.8517
|  |  | Site Preparation including Power line to Grid | 1750000
|  |  | Transformer | 2000000 |  |  |  | O&M and SAGE per Expected MWh (Yr 1) ($US/MWh) |  | 13.791
|  |  | Site Control Office including VPN | 500000 |  |  |  | O&M and SAGE per Nameplate MW (Yr 1) ($US/MW) |  | 32860
|  |  | Other | 0
[8 empty] | 25 year Nominal Capital Cost per MWh ($US/MWh) |  | 12.8842
|  |  | Total Site Capital Cost ($US) | 9730000 |  |  |  | 25 year Nominal O&M and SAGE per MWh ($US/MWh) |  | 15.5714
|  | Per Wind Turbine Cost ($US) | [5 empty] | 25 year Nominal Total Cost per MWh ($US/MWh) |  | 28.4556
|  |  | Base | 75000
|  |  | Crane | 60000 |  |  | Financial Ratios
|  |  | Tower | 150000
|  |  | Wind Turbine and Blading System | 1400000 |  |  |  | Cash Flow to Total Debt (minimum over 25 years) |  | 22.18%
|  |  | Control System | 100000 |  |  |  | Operating Profit Margin (minimum over 25 years) |  | 76.05%
|  |  | Installation Labour | 60000 |  |  |  | Debt to Equity (maximum over 25 years) |  | 64.91%
|  |  | Installation Material | 20000 |  |  |  | Net Return on Invested Capital (average over 25 years) |  | 4.873%
|  |  | Other | 0 |  |  |  | Net Return on Common Equity (average over 25 years) |  | 5.712%
|  |  | Total Per Wind Turbine Capital Cost ($US) | 1865000 |  |  | Common Share Prices
|  | Underwriting Fee | [5 empty] | IPO Price ($US per share) |  | 2.81
|  |  | Underwriting Fee (% of Equity raised) | 8 |  |  |  | Expected Market Price following IPO ($US per share) |  | 3.93
|  |  | Underwriting Fee (% of Debt raised) | 2
Table 1.3 Wind Turbine Farm Input 3 |  |  |  |  | (Change only data in blue) | Table 1.4 Wind Turbine Farm Input 4 |  |  |  |  | (Change only data in blue)
Input 3 | [5 empty] | Input 4
| Annual O&M and SAGE | [5 empty] | Depreciation and Amortization
|  | Operating and Maintenance Expenses |  |  |  |  | Generally Accepted Accounting Principles
[8 empty] | GAAP Straight Line Depreciation (years) |  | 20
Site Annual O&M Expenses
|  |  | Land Leasing/Maintenance Expenses ($US/year) | 50000 |  |  | Income Tax Regulation
|  |  | Property Taxes ($US/year) | 250000 |  |  |  | Income Tax Depreciation (Year 1) (% of Capital Cost) |  | 25
|  |  | Site Manager Salary ($US/year) | 125000 |  |  |  | Income Tax Depreciation (Year 2) (% of Capital Cost) |  | 50
|  |  | Transformer Maintenance and Repairs ($US/year) | 125000 |  |  |  | Income Tax Depreciation (Year 3) (% of Capital Cost) |  | 25
|  |  | Other ($US/year) | 0 |  |  |  | Income Tax Depreciation (Year 4) (% of Capital Cost) |  | 0
[8 empty] | Income Tax Depreciation (Year 5) (% of Capital Cost) |  | 0
|  |  | Total Site Annual O&M Expenses ($US/year) | 550000 |  |  |  | Income Tax Depreciation (Year 6) (% of Capital Cost) |  | 0
[8 empty] | Income Tax Depreciation (Year 7) (% of Capital Cost) |  | 0
|  | Per Wind Turbine Annual O&M Expenses | [5 empty] | Income Tax Depreciation (Year 8) (% of Capital Cost) |  | 0
|  |  | Inspections ($US/year) | 6000 |  |  |  | Income Tax Depreciation (Year 9) (% of Capital Cost) |  | 0
|  |  | Cleaning ($US/year) | 4000 |  |  |  | Income Tax Depreciation (Year 10) (% of Capital Cost) |  | 0
|  |  | Maintenance and Repairs ($US/year) | 25000 |  |  |  | Income Tax Depreciation (Year 11) (% of Capital Cost) |  | 0
|  |  | Insurance ($US/year) | 10000 |  |  |  | Income Tax Depreciation (Year 12) (% of Capital Cost) |  | 0
|  |  | Other ($US/year) | 0 |  |  |  | Income Tax Depreciation (Year 13) (% of Capital Cost) |  | 0
[8 empty] | Income Tax Depreciation (Year 14) (% of Capital Cost) |  | 0
|  |  | Total per Wind Turbine O&M Expenses ($US/year) | 45000 |  |  |  | Income Tax Depreciation (Year 15) (% of Capital Cost) |  | 0
[8 empty] | Income Tax Depreciation (Year 16) (% of Capital Cost) |  | 0
|  | Selling, Administrative and General Expenses (SAGE) | [5 empty] | Income Tax Depreciation (Year 17) (% of Capital Cost) |  | 0
|  |  | Business Licences ($US/year) | 4000 |  |  |  | Income Tax Depreciation (Year 18) (% of Capital Cost) |  | 0
|  |  | Executive Salaries ($US/year) | 750000 |  |  |  | Income Tax Depreciation (Year 19) (% of Capital Cost) |  | 0
|  |  | Administrative Salaries ($US/year) | 60000 |  |  |  | Income Tax Depreciation (Year 20) (% of Capital Cost) |  | 0
|  |  | Telephone, Office Supplies, Furniture, etc. ($US/year) | 120000 |  |  |  | Income Tax Depreciation (Year 21) (% of Capital Cost) |  | 0
|  |  | Bank Fees ($US/year) | 2000 |  |  |  | Income Tax Depreciation (Year 22) (% of Capital Cost) |  | 0
|  |  | Other ($US/year) | 0 |  |  |  | Income Tax Depreciation (Year 23) (% of Capital Cost) |  | 0
[8 empty] | Income Tax Depreciation (Year 24) (% of Capital Cost) |  | 0
|  |  | Total SAGE ($US/year) | 936000 |  |  |  | Income Tax Depreciation (Year 25) (% of Capital Cost) |  | 0
| Financing | [5 empty] | Income Tax
|  |  | % of Capital Cost and Working Capital as Equity (%) | 60 |  |  |  | Income Tax Rate (%) |  | 40
[8 empty] | Is other taxable income available to offset losses (Yor N) |  | N
|  |  | Annual Compound Interest Rate (%) | 9
|  |  | Length of Loan (years) | 20
| Inflation | [5 empty] | Equity Valuation (see "Valuation" worksheet)
|  |  | Electricity Selling Price Annual Inflation (%) | 1 |  |  | by Earnings
|  |  | O&M Expense Annual Inflation (%) | 2 |  |  |  | Forward Multiple on Annual Earnings (post commissioning) |  | 12
|  |  | SAGE Annual Inflation (%) | 2 |  |  |  |  | Weighting (%) | 15
| Interest on Cash Balances | [5 empty] | by Discounted Cash Flow
[8 empty] | Cash Flow Present Value Discount Rate (%) |  | 7
|  |  | Annual Interest on Ending Cash Balance (%) | 2 |  |  |  |  | Weighting (%) | 75
| Working Capital Requirements | [5 empty] | by EBITDA
[8 empty] | Forward Multiple on Annual EBITDA (post commissioning) |  | 4
|  |  | Initial Working Capital Required ($US) | 4000000 |  |  |  |  | Weighting (%) | 5
|  |  | Minimum Cash Balance ($US) | 1000000
by Book Value
| Dividend Distribution | [6 empty] | Forward Multiple on Book Value |  | 1
[9 empty] | Weighting (%) | 5
|  |  | Percent of Cash Generated Distributed as Dividends (%) | 0
* Project Attractiveness - assumes Equity Capital is received on date construction is completed. First year operations begin immediately after construction.
Cash Flow from first year of operations occurs twelve months after construction is completed.
** Capacity Factor = Actual Amount of Power Produced over time
|  | Nameplated Rated Output over time | Power produced at Nameplate Rated Output 100% of time
*** Green Electricity Premium - A modern 1 MW wind turbine in an average location will annually displace 2,000 tonnes of carbon dioxide from other electricity
sources, usually coal fired power stations (Source - Danish Wind Industry Association); There is now 30% more carbon dioxide in the earth's atmosphere than
before the Industrial Revolution (Source - Journal of the Association of Professional Engineers and Geophysicists of British Columbia, "Innovation", June 2002).

## Cash Flow
Table 3.1 Cash Flow Detail
End of Year |  | 0 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 25 year
End of Year |  | 2004 |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | Life
Net Revenue | ($US) | 0 |  | 14772864 | 16675956.48 | 17729174.784 | 17906466.5318 | 18085531.1972 | 18266386.5091 | 18449050.3742 | 18633540.878 | 18819876.2867 | 19008075.0496 | 19198155.8001 | 19390137.3581 | 19584038.7317 | 19779879.119 | 19977677.9102 | 20177454.6893 | 20379229.2362 | 20583021.5286 | 20788851.7438 | 20996740.2613 | 21206707.6639 | 21418774.7405 | 21632962.4879 | 21849292.1128 | 22067785.0339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COGS (O&M) | ($US) | 0 |  | -2350000 | -2397000 | -2444940 | -2493838.8 | -2543715.576 | -2594589.8875 | -2646481.6853 | -2699411.319 | -2753399.5454 | -2808467.5363 | -2864636.887 | -2921929.6247 | -2980368.2172 | -3039975.5816 | -3100775.0932 | -3162790.5951 | -3226046.407 | -3290567.3351 | -3356378.6818 | -3423506.2554 | -3491976.3805 | -3561815.9082 | -3633052.2263 | -3705713.2708 | -3779827.5363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -75271204.3496
SAGE | ($US) | -3000000 |  | -936000 | -954720 | -973814.4 | -993290.688 | -1013156.5018 | -1033419.6318 | -1054088.0244 | -1075169.7849 | -1096673.1806 | -1118606.6442 | -1140978.7771 | -1163798.3527 | -1187074.3197 | -1210815.8061 | -1235032.1222 | -1259732.7647 | -1284927.42 | -1310625.9684 | -1336838.4877 | -1363575.2575 | -1390846.7626 | -1418663.6979 | -1447036.9718 | -1475977.7113 | -1505497.2655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -32980360.5409
Interest Earned on Min Cash Balance | ($US) | 0 |  | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan Payment | ($US) | 0 |  | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | -4100101.7532 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Income Taxes (for IRR) | ($US) | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3008119.7498 | -5035929.2941 | -5137746.2691 | -5244843.3494 | -5357678.9019 | -5476752.8178 | -5602610.2616 | -5735845.7571 | -5877107.6424 | -6027102.9249 | -6186602.5749 | -6356447.2946 | -6537553.8083 | -6583318.0538 | -6629149.3159 | -6675040.4523 | -6720984.0929 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cash Expenses | ($US) | -3000000 |  | -7366101.7532 | -7431821.7532 | -7498856.1532 | -7567231.2412 | -7636973.8309 | -7708111.2725 | -7780671.4629 | -7854682.8571 | -10938294.2289 | -13043105.2277 | -13223463.6864 | -13410673.08 | -13605223.192 | -13807645.9586 | -14018519.2302 | -14238470.87 | -14468183.2225 | -14708397.9815 | -14959921.4976 | -15223630.5607 | -11400376.9515 | -11543797.6598 | -11689238.5141 | -11836731.4344 | -11986308.8946 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Tax Depreciation Expense | ($US) | 0 |  | -22392478.8136 | -44784957.6271 | -22392478.8136 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Expense | ($US) | 0 |  | -3368516.9492 | -3302674.3168 | -3230905.8475 | -3152678.216 | -3067410.0977 | -2974467.8487 | -2873160.7973 | -2762736.1112 | -2642373.2035 | -2511177.634 | -2368174.4633 | -2212301.0072 | -2042398.94 | -1857205.6868 | -1655345.0409 | -1435316.9368 | -1195486.3033 | -934070.9128 | -649128.1372 | -338540.5117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Income Tax Taxable Income (for IRR) | ($US) | -3000000 |  | -14254131.7627 | -34743395.4639 | -11292964.2771 | 11286658.8278 | 11481249.0217 | 11683909.1411 | 11895319.8673 | 12116223.6628 | 12347430.3573 | 12589823.2351 | 12844365.6727 | 13112108.3736 | 13394197.2547 | 13691882.0445 | 14006525.6539 | 14339614.3928 | 14692769.106 | 15067757.3123 | 15466506.4371 | 15891118.2366 | 16343884.5207 | 16458295.1345 | 16572873.2898 | 16687601.1307 | 16802460.2322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Flow (for IRR) | ($US) | -56141949.1525 |  | 7406762.2468 | 9244134.7268 | 10230318.6308 | 10339235.2907 | 10448557.3662 | 10558275.2366 | 10668378.9114 | 10778858.0209 | 7881582.0578 | 5964969.8219 | 5974692.1137 | 5979464.2781 | 5978815.5397 | 5972233.1604 | 5959158.68 | 5938983.8193 | 5911046.0137 | 5874623.547 | 5828930.2463 | 5773109.7005 | 9806330.7124 | 9874977.0807 | 9943723.9739 | 10012560.6784 | 10081476.1393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.11%
IPO Cash Flow IRR* | ($US) | -56141949.1525 | 0 | 7406762.2468 | 9244134.7268 | 10230318.6308 | 10339235.2907 | 10448557.3662 | 10558275.2366 | 10668378.9114 | 10778858.0209 | 7881582.0578 | 5964969.8219 | 5974692.1137 | 5979464.2781 | 5978815.5397 | 5972233.1604 | 5959158.68 | 5938983.8193 | 5911046.0137 | 5874623.547 | 5828930.2463 | 5773109.7005 | 9806330.7124 | 9874977.0807 | 9943723.9739 | 10012560.6784 | 10081476.1393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13%
Discounted CF @ 7% | ($US) | -56141949.1525 |  | 6922207.7073 | 8074185.2798 | 8350987.3783 | 7887753.0995 | 7449676.9977 | 7035424.6009 | 6643730.2134 | 6273393.505 | 4287058.4262 | 3032288.1866 | 2838533.1839 | 2654953.6493 | 2480995.8895 | 2316134.987 | 2159873.344 | 2011739.2953 | 1871285.7888 | 1738089.1295 | 1611747.7856 | 1491881.2519 | 2368357.2 | 2228912.333 | 2097597.5811 | 1973942.4948 | 1857503.6869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41516303.8426
IPO Discounted CF @ 7%* | ($US) | -56141949.1525 | 0 | 6469352.9975 | 7545967.5512 | 7804661.1012 | 7371731.8687 | 6962314.9511 | 6575163.1784 | 6209093.6574 | 5862984.5841 | 4006596.66 | 2833914.1931 | 2652834.7513 | 2481265.0928 | 2318687.7472 | 2164612.1374 | 2018573.2187 | 1880130.1826 | 1748865.2232 | 1624382.364 | 1506306.3417 | 1394281.5439 | 2213417.9439 | 2083095.6383 | 1960371.5711 | 1844806.0699 | 1735984.7541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35127446.17
Payback Time Calculation | ($US) | -56141949.1525 |  | -48735186.9057 | -39491052.1789 | -29260733.548 | -18921498.2574 | -8472940.8911 | 2085334.3455 | 12753713.2569 | 23532571.2778 | 31414153.3356 | 37379123.1575 | 43353815.2712 | 49333279.5494 | 55312095.089 | 61284328.2494 | 67243486.9295 | 73182470.7487 | 79093516.7624 | 84968140.3095 | 90797070.5557 | 96570180.2563 | 106376510.9687 | 116251488.0494 | 126195212.0232 | 136207772.7016 | 146289248.8409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payback Time | (years) | 0 |  | 0 | 0 | 0 | 0 | 0 | 5.8025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8025
GAAP Depreciation Expense | ($US) | 0 |  | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | -4478495.7627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GAAP Taxable Income (for IRR) | ($US) | -3000000 |  | 3659851.2881 | 5563066.4005 | 6621018.7738 | 6808163.0651 | 7002753.259 | 7205413.3784 | 7416824.1045 | 7637727.9001 | 7868934.5946 | 8111327.4724 | 8365869.91 | 8633612.6108 | 8915701.492 | 9213386.2818 | 9528029.8912 | 9861118.6301 | 10214273.3433 | 10589261.5496 | 10988010.6744 | 11412622.4739 | 16343884.5207 | 16458295.1345 | 16572873.2898 | 16687601.1307 | 16802460.2322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deferred Income Taxes (for IRR) | ($US) | 1200000 |  | -1463940.5153 | -2225226.5602 | -2648407.5095 | -2723265.226 | -2801101.3036 | -2882165.3514 | -2966729.6418 | -3055091.16 | -139454.0881 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carry Forward Losses (for IRR) | ($US) | -3000000 |  | -17254131.7627 | -51997527.2266 | -63290491.5037 | -52003832.6759 | -40522583.6541 | -28838674.513 | -16943354.6457 | -4827130.9829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividends Paid | ($US) | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Interest Earned on Cash Balance | ($US) | 0 |  | 20000 | 168135.2449 | 355980.6444 | 567306.6299 | 785037.4683 | 1009309.365 | 1240261.057 | 1478033.8564 | 1717676.2277 | 1857062.9357 | 1998407.0874 | 2141641.8147 | 2286690.802 | 2433467.4024 | 2581873.6745 | 2731799.3322 | 2883120.6005 | 3035698.968 | 3189379.8266 | 3343990.9894 | 3499341.0753 | 3737219.7824 | 3979325.9615 | 4225712.3525 | 4476432.1143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New GAAP Taxable Income | ($US) | -3000000 |  | 3659851.2881 | 5711201.6454 | 6956999.4181 | 7355469.695 | 7767790.7273 | 8194722.7434 | 8637085.1616 | 9095761.7565 | 9566610.8223 | 9948390.4081 | 10344276.9974 | 10755254.4255 | 11182392.294 | 11626853.6842 | 12089903.5657 | 12572917.9622 | 13077393.9438 | 13604960.5176 | 14157390.501 | 14736613.4633 | 19823225.596 | 20175514.9169 | 20532199.2512 | 20893313.4831 | 21258892.3464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Income Tax Taxable Income | ($US) | -3000000 |  | -14254131.7627 | -34595260.219 | -10956983.6327 | 11833965.4577 | 12246286.49 | 12673218.5061 | 13115580.9243 | 13574257.5192 | 14045106.585 | 14426886.1708 | 14822772.7601 | 15233750.1882 | 15660888.0567 | 16105349.4469 | 16568399.3284 | 17051413.725 | 17555889.7065 | 18083456.2803 | 18635886.2637 | 19215109.226 | 19823225.596 | 20175514.9169 | 20532199.2512 | 20893313.4831 | 21258892.3464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Carry Forward Losses | ($US) | -3000000 |  | -17254131.7627 | -51849391.9817 | -62806375.6144 | -50972410.1567 | -38726123.6667 | -26052905.1605 | -12937324.2363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Current Income Taxes | ($US) | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -254773.3132 | -5618042.634 | -5770754.4683 | -5929109.104 | -6093500.0753 | -6264355.2227 | -6442139.7788 | -6627359.7313 | -6820565.49 | -7022355.8826 | -7233382.5121 | -7454354.5055 | -7686043.6904 | -7929290.2384 | -8070205.9668 | -8212879.7005 | -8357325.3933 | -8503556.9386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Deferred Income Taxes | ($US) | 1200000 |  | -1463940.5153 | -2284480.6582 | -2782799.7673 | -2942187.878 | -3107116.2909 | -3277889.0974 | -3454834.0646 | -3383531.3894 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 1791398.3051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New GAAP Net Earnings | ($US) | -1800000 |  | 2195910.7729 | 3426720.9873 | 4174199.6509 | 4413281.817 | 4660674.4364 | 4916833.646 | 5182251.0969 | 5457457.0539 | 5739966.4934 | 5969034.2449 | 6206566.1984 | 6453152.6553 | 6709435.3764 | 6976112.2105 | 7253942.1394 | 7543750.7773 | 7846436.3663 | 8162976.3106 | 8494434.3006 | 8841968.078 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Cash Flow | ($US) | -56141949.1525 |  | 7406762.2468 | 9392269.9718 | 10566299.2752 | 10886541.9205 | 11213594.8345 | 11547584.6016 | 11888639.9684 | 11982118.5641 | 6969335.4013 | 7067207.5833 | 7161736.3661 | 7252449.3669 | 7338830.0209 | 7420313.6018 | 7496282.8847 | 7566063.4186 | 7628918.374 | 7684042.9278 | 7730558.1422 | 7767504.2942 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.5%
(Not IRR)
Ending Cash Balance | ($US) | 1000000 |  | 8406762.2468 | 17799032.2186 | 28365331.4938 | 39251873.4144 | 50465468.2489 | 62013052.8505 | 73901692.8189 | 85883811.383 | 92853146.7842 | 99920354.3675 | 107082090.7337 | 114334540.1006 | 121673370.1215 | 129093683.7234 | 136589966.6081 | 144156030.0266 | 151784948.4007 | 159468991.3285 | 167199549.4707 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 236576941.1211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed Assets | ($US) | 84330000 |  | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Depreciation | ($US) | 0 |  | -4216500 | -8433000 | -12649500 | -16866000 | -21082500 | -25299000 | -29515500 | -33732000 | -37948500 | -42165000 | -46381500 | -50598000 | -54814500 | -59031000 | -63247500 | -67464000 | -71680500 | -75897000 | -80113500 | -84330000 | -84330000 | -84330000 | -84330000 | -84330000 | -84330000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Underwriting Fees | ($US) | 5239915.2542 |  | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Amortization | ($US) | 0 |  | -261995.7627 | -523991.5254 | -785987.2881 | -1047983.0508 | -1309978.8136 | -1571974.5763 | -1833970.339 | -2095966.1017 | -2357961.8644 | -2619957.6271 | -2881953.3898 | -3143949.1525 | -3405944.9153 | -3667940.678 | -3929936.4407 | -4191932.2034 | -4453927.9661 | -4715923.7288 | -4977919.4915 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Outstanding Principal | ($US) | 37427966.1017 |  | 36696381.2977 | 35898953.8613 | 35029757.9557 | 34082334.4185 | 33049642.763 | 31924008.8585 | 30697067.9026 | 29359702.2606 | 27901973.7109 | 26313049.5918 | 24581122.3018 | 22693321.5558 | 20635618.7427 | 18392722.6764 | 15947965.9641 | 13283181.1477 | 10378565.6978 | 7212534.8574 | 3761561.2414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment | ($US) | 0 |  | -731584.804 | -797427.4364 | -869195.9057 | -947423.5372 | -1032691.6555 | -1125633.9045 | -1226940.9559 | -1337365.6419 | -1457728.5497 | -1588924.1192 | -1731927.2899 | -1887800.746 | -2057702.8131 | -2242896.0663 | -2444756.7123 | -2664784.8164 | -2904615.4499 | -3166030.8404 | -3450973.616 | -3761561.2414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | * assumes IPO occurs 12 months before construction is completed. First year operations begin immediately after construction. Cash Flow from first year of operations occurs 12 months after construction. | [9 empty] | * assumes IPO occurs 12 months before construction is completed. First year operations begin immediately after construction. Cash Flow from first year of operations occurs 12 months after construction. | [9 empty] | * assumes IPO occurs 12 months before construction is completed. First year operations begin immediately after construction. Cash Flow from first year of operations occurs 12 months after construction. | [9 empty] | * assumes IPO occurs 12 months before construction is completed. First year operations begin immediately after construction. Cash Flow from first year of operations occurs 12 months after construction. | [9 empty] | * assumes IPO occurs 12 months before construction is completed. First year operations begin immediately after construction. Cash Flow from first year of operations occurs 12 months after construction.
Post
Table 3.2 Ratios |  | Commissioning
Interest Coverage | (min) | 3.1533 |  | 2.0865 | 2.7293 | 3.1533 | 3.3331 | 3.5324 | 3.755 | 4.0061 | 4.2923 | 4.6205 | 4.9616 | 5.368 | 5.8616 | 6.4751 | 7.2604 | 8.3036 | 9.7597 | 11.939 | 15.5652 | 22.8099 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 2.0865
Cash Flow to Total Debt | (min) | 30.2% |  | 22.18% | 28.38% | 32.65% | 34.72% | 37.05% | 39.7% | 42.73% | 45.37% | 30.2% | 32.9% | 36.18% | 40.28% | 45.54% | 52.54% | 62.33% | 77.02% | 101.5% | 150.4% | 297.3% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 22.18%
Operating Profit Margin | (min) | 76.05% |  | 77.76% | 79.9% | 80.72% | 80.53% | 80.33% | 80.14% | 79.94% | 79.74% | 79.54% | 79.34% | 79.14% | 78.93% | 78.72% | 78.51% | 78.3% | 78.08% | 77.86% | 77.65% | 77.42% | 77.2% | 76.98% | 76.75% | 76.52% | 76.28% | 76.05% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 76.05%
Debt to Equity | (max) | 54.62% |  | 64.91% | 59.87% | 54.62% | 49.72% | 45.14% | 40.86% | 36.85% | 33.07% | 29.52% | 26.19% | 23.04% | 20.06% | 17.22% | 14.5% | 11.89% | 9.379% | 6.944% | 4.576% | 2.264% | 0% | 0% | 0% | 0% | 0% | 0% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 64.91%
Pre-tax Return on Invested Capital | (avg) | 9.599% |  | 7.538% | 9.403% | 10.27% | 10.24% | 10.2% | 10.15% | 10.1% | 10.04% | 9.974% | 9.827% | 9.684% | 9.547% | 9.414% | 9.286% | 9.162% | 9.043% | 8.929% | 8.82% | 8.716% | 8.616% | 10.61% | 10.14% | 9.718% | 9.335% | 8.986% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 9.509%
Net Return on Invested Capital | (avg) | 4.858% |  | 4.51% | 5.536% | 5.949% | 5.811% | 5.675% | 5.539% | 5.405% | 5.272% | 5.142% | 5.017% | 4.897% | 4.782% | 4.672% | 4.566% | 4.465% | 4.368% | 4.275% | 4.187% | 4.103% | 4.023% | 5.242% | 4.957% | 4.701% | 4.468% | 4.256% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 4.873%
Net Return on Common Equity | (avg) | 5.79% |  | 3.884% | 5.715% | 6.508% | 6.438% | 6.366% | 6.293% | 6.22% | 6.148% | 6.073% | 5.941% | 5.818% | 5.704% | 5.598% | 5.501% | 5.41% | 5.327% | 5.25% | 5.179% | 5.113% | 5.054% | 6.365% | 6.084% | 5.831% | 5.601% | 5.392% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 5.712%
Net Profit Margin | (min) | 23.54% |  | 14.86% | 20.55% | 23.54% | 24.65% | 25.77% | 26.92% | 28.09% | 29.29% | 30.5% | 31.4% | 32.33% | 33.28% | 34.26% | 35.27% | 36.31% | 37.39% | 38.5% | 39.66% | 40.86% | 42.11% | 56.09% | 56.52% | 56.95% | 57.37% | 57.8% | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 14.86%

## Valuation
Windstorm Power Company
Equity Valuation
|  | 2004 | 2005 | 2006 | 2007 | 2008
| Number of Common shares issued | 22000000 | 22000000 | 22000000 | 22000000 | 22000000
| Percent of Capacity Factor Achieved | 85% | 95% | 100% | 100% | 100%
by Earnings |  | 2004 | 2005 | 2006 | 2007 | 2008
(15% weighting)
| Earnings (for the twelve months ended December 31) ($US) |  | 2195910.7729 | 3426720.9873 | 4174199.6509 | 4413281.817
| Forward multiple on Annual Earnings | 12 | 12 | 12 | 12
| Value ($US) | 26350929.2746 | 41120651.8471 | 50090395.8106 | 52959381.804
| Value (post commissioning) ($US) | 0 | 0 | 50090395.8106 | 0
| Valuation by Earnings ($US) | 50090395.8106
| Value per share following IPO ($US) | 2.2768
by Discounted Cash Flow
(75% weighting)
| 25 year Net Present Value @ 7% Discount Rate ($US) | 41516303.8426
| IPO Equity ($US) | 56141949.1525
| Valuation by Discounted Cash Flow ($US) | 97658252.9951
| Value per share following IPO ($US) | 4.439
by EBITDA |  | 2004 | 2005 | 2006 | 2007 | 2008
(5% weighting)
| EBITDA (for the twelve months ended December 31) ($US) |  | 11486864 | 13324236.48 | 14310420.384 | 14419337.0438
| Forward Multiple on Annual EBITDA | 4 | 4 | 4 | 4
| Value ($US) | 45947456 | 53296945.92 | 57241681.536 | 57677348.1754
| Value (post commissioning) ($US) | 0 | 0 | 57241681.536 | 0
| Valuation by EBITDA ($US) | 57241681.536
| Value per share following IPO ($US) | 2.6019
by Book Value |  | 2004 | 2005 | 2006 | 2007 | 2008
(5% weighting)
| Book Value (at December 31) ($US) |  | 56537859.9254 | 59964580.9127 | 64138780.5636 | 68552062.3806
| Forward Multiple on Book Value | 1
| Valuation by Book Value ($US) | 56537859.9254
| Value per share following IPO ($US) | 2.5699
Weighted Average Market Value per share following IPO ($US) |  | 3.9294

## Financial Statements
Windstorm Power Company
GAAP Income Statement
for the twelve months ended December 31 |  |  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
(in $US)
| Net Sales |  |  | 0 | 14772864 | 16675956.48 | 17729174.784 | 17906466.5318 | 18085531.1972 | 18266386.5091 | 18449050.3742 | 18633540.878 | 18819876.2867 | 19008075.0496 | 19198155.8001 | 19390137.3581 | 19584038.7317 | 19779879.119 | 19977677.9102 | 20177454.6893 | 20379229.2362 | 20583021.5286 | 20788851.7438 | 20996740.2613 | 21206707.6639 | 21418774.7405 | 21632962.4879 | 21849292.1128 | 22067785.0339 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Cost of Goods Sold (O&M Expenses) |  | 0 | 2350000 | 2397000 | 2444940 | 2493838.8 | 2543715.576 | 2594589.8875 | 2646481.6853 | 2699411.319 | 2753399.5454 | 2808467.5363 | 2864636.887 | 2921929.6247 | 2980368.2172 | 3039975.5816 | 3100775.0932 | 3162790.5951 | 3226046.407 | 3290567.3351 | 3356378.6818 | 3423506.2554 | 3491976.3805 | 3561815.9082 | 3633052.2263 | 3705713.2708 | 3779827.5363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gross Operating Profit |  |  | 0 | 12422864 | 14278956.48 | 15284234.784 | 15412627.7318 | 15541815.6212 | 15671796.6216 | 15802568.689 | 15934129.559 | 16066476.7414 | 16199607.5133 | 16333518.9131 | 16468207.7334 | 16603670.5145 | 16739903.5374 | 16876902.817 | 17014664.0942 | 17153182.8292 | 17292454.1935 | 17432473.062 | 17573234.0058 | 17714731.2833 | 17856958.8324 | 17999910.2616 | 18143578.842 | 18287957.4977 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Depreciation & Amortization |  | 0 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Selling, Administrative, and General Expenses |  | 3000000 | 936000 | 954720 | 973814.4 | 993290.688 | 1013156.5018 | 1033419.6318 | 1054088.0244 | 1075169.7849 | 1096673.1806 | 1118606.6442 | 1140978.7771 | 1163798.3527 | 1187074.3197 | 1210815.8061 | 1235032.1222 | 1259732.7647 | 1284927.42 | 1310625.9684 | 1336838.4877 | 1363575.2575 | 1390846.7626 | 1418663.6979 | 1447036.9718 | 1475977.7113 | 1505497.2655 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Operating Profit |  |  | -3000000 | 7008368.2373 | 8845740.7173 | 9831924.6213 | 9940841.2811 | 10050163.3567 | 10159881.2271 | 10269984.9018 | 10380464.0114 | 10491307.7981 | 10602505.1064 | 10714044.3733 | 10825913.618 | 10938100.432 | 11050591.9686 | 11163374.9321 | 11276435.5669 | 11389759.6466 | 11503332.4624 | 11617138.8116 | 11731162.9856 | 16323884.5207 | 16438295.1345 | 16552873.2898 | 16667601.1307 | 16782460.2322 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interest Expense |  | 0 | 3368516.9492 | 3302674.3168 | 3230905.8475 | 3152678.216 | 3067410.0977 | 2974467.8487 | 2873160.7973 | 2762736.1112 | 2642373.2035 | 2511177.634 | 2368174.4633 | 2212301.0072 | 2042398.94 | 1857205.6868 | 1655345.0409 | 1435316.9368 | 1195486.3033 | 934070.9128 | 649128.1372 | 338540.5117 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Interest (Income) |  | 0 | -20000 | -168135.2449 | -355980.6444 | -567306.6299 | -785037.4683 | -1009309.365 | -1240261.057 | -1478033.8564 | -1717676.2277 | -1857062.9357 | -1998407.0874 | -2141641.8147 | -2286690.802 | -2433467.4024 | -2581873.6745 | -2731799.3322 | -2883120.6005 | -3035698.968 | -3189379.8266 | -3343990.9894 | -3499341.0753 | -3737219.7824 | -3979325.9615 | -4225712.3525 | -4476432.1143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Earnings before Taxes |  |  | -3000000 | 3659851.2881 | 5711201.6454 | 6956999.4181 | 7355469.695 | 7767790.7273 | 8194722.7434 | 8637085.1616 | 9095761.7565 | 9566610.8223 | 9948390.4081 | 10344276.9974 | 10755254.4255 | 11182392.294 | 11626853.6842 | 12089903.5657 | 12572917.9622 | 13077393.9438 | 13604960.5176 | 14157390.501 | 14736613.4633 | 19823225.596 | 20175514.9169 | 20532199.2512 | 20893313.4831 | 21258892.3464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Current Income Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254773.3132 | 5618042.634 | 5770754.4683 | 5929109.104 | 6093500.0753 | 6264355.2227 | 6442139.7788 | 6627359.7313 | 6820565.49 | 7022355.8826 | 7233382.5121 | 7454354.5055 | 7686043.6904 | 7929290.2384 | 8070205.9668 | 8212879.7005 | 8357325.3933 | 8503556.9386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Deferred Income Taxes |  | -1200000 | 1463940.5153 | 2284480.6582 | 2782799.7673 | 2942187.878 | 3107116.2909 | 3277889.0974 | 3454834.0646 | 3383531.3894 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Earnings |  |  | -1800000 | 2195910.7729 | 3426720.9873 | 4174199.6509 | 4413281.817 | 4660674.4364 | 4916833.646 | 5182251.0969 | 5457457.0539 | 5739966.4934 | 5969034.2449 | 6206566.1984 | 6453152.6553 | 6709435.3764 | 6976112.2105 | 7253942.1394 | 7543750.7773 | 7846436.3663 | 8162976.3106 | 8494434.3006 | 8841968.078 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Windstorm Power Company
GAAP Balance Sheet
at December 31 |  |  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
(in $US)
Assets
| Cash |  |  | 1000000 | 8406762.2468 | 17799032.2186 | 28365331.4938 | 39251873.4144 | 50465468.2489 | 62013052.8505 | 73901692.8189 | 85883811.383 | 92853146.7842 | 99920354.3675 | 107082090.7337 | 114334540.1006 | 121673370.1215 | 129093683.7234 | 136589966.6081 | 144156030.0266 | 151784948.4007 | 159468991.3285 | 167199549.4707 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 236576941.1211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fixed Assets |  |  | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 84330000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Accumulated Depreciation |  | 0 | -4216500 | -8433000 | -12649500 | -16866000 | -21082500 | -25299000 | -29515500 | -33732000 | -37948500 | -42165000 | -46381500 | -50598000 | -54814500 | -59031000 | -63247500 | -67464000 | -71680500 | -75897000 | -80113500 | -84330000 | -84330000 | -84330000 | -84330000 | -84330000 | -84330000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Intangible Assets
|  | Underwriting Fees |  | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 5239915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Accumulated Amortization |  | 0 | -261995.7627 | -523991.5254 | -785987.2881 | -1047983.0508 | -1309978.8136 | -1571974.5763 | -1833970.339 | -2095966.1017 | -2357961.8644 | -2619957.6271 | -2881953.3898 | -3143949.1525 | -3405944.9153 | -3667940.678 | -3929936.4407 | -4191932.2034 | -4453927.9661 | -4715923.7288 | -4977919.4915 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | -5239915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Assets |  |  | 90569915.2542 | 93498181.7384 | 98411955.9474 | 104499759.4599 | 110907805.6177 | 117642904.6895 | 124711993.5285 | 132122137.7341 | 139625760.5355 | 142116600.1741 | 144705311.9947 | 147388552.5981 | 150162506.2023 | 153022840.4605 | 155964658.2996 | 158982445.4216 | 162070013.0775 | 165220435.6888 | 168425982.8539 | 171678045.2334 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 236576941.1211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liabilities and Shareholders' Equity
| Long Term Debt |  |  | 37427966.1017 | 36696381.2977 | 35898953.8613 | 35029757.9557 | 34082334.4185 | 33049642.763 | 31924008.8585 | 30697067.9026 | 29359702.2606 | 27901973.7109 | 26313049.5918 | 24581122.3018 | 22693321.5558 | 20635618.7427 | 18392722.6764 | 15947965.9641 | 13283181.1477 | 10378565.6978 | 7212534.8574 | 3761561.2414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Deferred Income Taxes |  |  | -1200000 | 263940.5153 | 2548421.1734 | 5331220.9407 | 8273408.8187 | 11380525.1096 | 14658414.207 | 18113248.2716 | 21496779.661 | 19705381.3559 | 17913983.0508 | 16122584.7458 | 14331186.4407 | 12539788.1356 | 10748389.8305 | 8956991.5254 | 7165593.2203 | 5374194.9153 | 3582796.6102 | 1791398.3051 | -3.0003e-06 | -3.0003e-06 | -3.0003e-06 | -3.0003e-06 | -3.0003e-06 | -3.0003e-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Common Share Capital |  |  | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 56141949.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Qty issued | 22000000
| Retained Earnings |  |  | -1800000 | 395910.7729 | 3822631.7601 | 7996831.411 | 12410113.228 | 17070787.6644 | 21987621.3105 | 27169872.4074 | 32627329.4613 | 38367295.9546 | 44336330.1995 | 50542896.3979 | 56996049.0533 | 63705484.4297 | 70681596.6402 | 77935538.7796 | 85479289.5569 | 93325725.9232 | 101488702.2338 | 109983136.5344 | 118825104.6124 | 130719039.97 | 142824348.9201 | 155143668.4708 | 167679656.5607 | 180434991.9686 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Liabilities and Shareholders' Equity |  |  | 90569915.2542 | 93498181.7384 | 98411955.9474 | 104499759.4599 | 110907805.6177 | 117642904.6895 | 124711993.5285 | 132122137.7341 | 139625760.5355 | 142116600.1741 | 144705311.9947 | 147388552.5981 | 150162506.2023 | 153022840.4605 | 155964658.2996 | 158982445.4216 | 162070013.0775 | 165220435.6888 | 168425982.8539 | 171678045.2334 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 236576941.1211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Windstorm Power Company
GAAP Cash Flow Statement
for the twelve months ended December 31 |  |  |  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
(in $US)
Cash Generated from (used in)
Operating Activities
|  | Net Earnings |  | -1800000 | 2195910.7729 | 3426720.9873 | 4174199.6509 | 4413281.817 | 4660674.4364 | 4916833.646 | 5182251.0969 | 5457457.0539 | 5739966.4934 | 5969034.2449 | 6206566.1984 | 6453152.6553 | 6709435.3764 | 6976112.2105 | 7253942.1394 | 7543750.7773 | 7846436.3663 | 8162976.3106 | 8494434.3006 | 8841968.078 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Depreciation |  | 0 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 4478495.7627 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Deferred Income Taxes |  | -1200000 | 1463940.5153 | 2284480.6582 | 2782799.7673 | 2942187.878 | 3107116.2909 | 3277889.0974 | 3454834.0646 | 3383531.3894 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | -1791398.3051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Cash Flows - Operating Activities |  |  | -3000000 | 8138347.0508 | 10189697.4081 | 11435495.1809 | 11833965.4577 | 12246286.49 | 12673218.5061 | 13115580.9243 | 13319484.206 | 8427063.951 | 8656131.7025 | 8893663.6561 | 9140250.1129 | 9396532.834 | 9663209.6682 | 9941039.597 | 10230848.235 | 10533533.8239 | 10850073.7682 | 11181531.7582 | 11529065.5356 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Financing Activities
|  | Long Term Debt |  | 37427966.1017 | -731584.804 | -797427.4364 | -869195.9057 | -947423.5372 | -1032691.6555 | -1125633.9045 | -1226940.9559 | -1337365.6419 | -1457728.5497 | -1588924.1192 | -1731927.2899 | -1887800.746 | -2057702.8131 | -2242896.0663 | -2444756.7123 | -2664784.8164 | -2904615.4499 | -3166030.8404 | -3450973.616 | -3761561.2414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | IPO |  | 56141949.1525 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Dividends |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Cash Flows - Financing Activities |  |  | 93569915.2542 | -731584.804 | -797427.4364 | -869195.9057 | -947423.5372 | -1032691.6555 | -1125633.9045 | -1226940.9559 | -1337365.6419 | -1457728.5497 | -1588924.1192 | -1731927.2899 | -1887800.746 | -2057702.8131 | -2242896.0663 | -2444756.7123 | -2664784.8164 | -2904615.4499 | -3166030.8404 | -3450973.616 | -3761561.2414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investing Activities
|  | Purchase of Plant, Property and Equipment |  | -84330000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Underwriting Fees |  | -5239915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Net Cash Flows - Investing Activities |  |  | -89569915.2542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Increase (Decrease) in Cash |  |  | 1000000 | 7406762.2468 | 9392269.9718 | 10566299.2752 | 10886541.9205 | 11213594.8345 | 11547584.6016 | 11888639.9684 | 11982118.5641 | 6969335.4013 | 7067207.5833 | 7161736.3661 | 7252449.3669 | 7338830.0209 | 7420313.6018 | 7496282.8847 | 7566063.4186 | 7628918.374 | 7684042.9278 | 7730558.1422 | 7767504.2942 | 11893935.3576 | 12105308.9502 | 12319319.5507 | 12535988.0899 | 12755335.4079 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Opening Cash Balance |  |  | 0 | 1000000 | 8406762.2468 | 17799032.2186 | 28365331.4938 | 39251873.4144 | 50465468.2489 | 62013052.8505 | 73901692.8189 | 85883811.383 | 92853146.7842 | 99920354.3675 | 107082090.7337 | 114334540.1006 | 121673370.1215 | 129093683.7234 | 136589966.6081 | 144156030.0266 | 151784948.4007 | 159468991.3285 | 167199549.4707 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Ending Cash Balance |  |  | 1000000 | 8406762.2468 | 17799032.2186 | 28365331.4938 | 39251873.4144 | 50465468.2489 | 62013052.8505 | 73901692.8189 | 85883811.383 | 92853146.7842 | 99920354.3675 | 107082090.7337 | 114334540.1006 | 121673370.1215 | 129093683.7234 | 136589966.6081 | 144156030.0266 | 151784948.4007 | 159468991.3285 | 167199549.4707 | 174967053.7649 | 186860989.1225 | 198966298.0727 | 211285617.6234 | 223821605.7133 | 236576941.1211 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0